## Slide 1: Journal Club 3.8 A MOT&Tweezer system
Yu Wang
Peking University
2018.9.1-2019.2.1
Work At Rice University
PI: Barry Dunning

## Slide 2: Introduction: Rydberg Blockade
基本性质
轨道半径
极化率
很强的范德瓦尔兹相互作用和偶极相互作用
窄线宽激光激发时， 相邻原子由于远离共振而不能激发

## Slide 3: Summary
form a programmable array of micro traps with a spatial light modulator (SLM)
designing objective lens systems to obtain diffraction limited spot sizes
produce individual very-high-n atoms in each trap using dipole blockade and then manipulate and control their interactions using a tailored sequence of electric field pulses.

## Slide 4: System layout

## Slide 6: Objective performance
Based on：Review of Scientific Instruments 87, 073107 (2016)

## Slide 7
2.2um

## Slide 9: SLM
Correction of achromatic aberration
Generation of programmable array of spots

## Slide 10
Create micro traps
Fiber in
Fiber out
Telescope f1=50mm f2=150mm
collimated
SLM
Beam expander f3=100mm f4=200mm
f3
f4
f1
f2
MO
camera

## Slide 11
Decide the phase pattern in the SLM plane
so that its Fourier transform will be our target
Perfect SLM can act as phase shifter, which has transmission ,it only modify the phase of the beam.
Iterative Algorithm
A = IFT(Target)
while error criterion is not satisfied
B = Amplitude(Source) * exp(i*Phase(A))
% ignore the amplitude of target,input the source amplitude
C = FT(B)
D = Amplitude(Target) * exp(i*Phase(C))
% input the target amplitude
A = IFT(D)
end while
Retrieved_Phase = Phase(A)
Applied optics 53.27 (2014): G209-G213.

## Slide 12: Optical Trapping
1-D lenslet array
The trapping potential
Inverse Fourier Transform of the field profile gives the phase profile.
Experimental result

## Slide 13
Correct the Chromatic aberration of 461&532nm
wavelength | Focal lenth | Extra phase
461nm | 74.22mm | 0
532nm | 75.11mm | Frenel lens by SLM
At focal point for 461nm
Optics express 14.13 (2006): 6226-6242.

## Slide 14: Generate phase profile(Frenel lens)
Composed focal lens:
Regeneration plane：
Focusing lens f2
Focal plane
SLM f1
d
s
In experiment, we choose:
With ,we get:
Reconstruct plane
Phase profile:
Transmission:

## Slide 15
Without shift
With shift
Correct the Chromatic aberration of 461&532nm
Minimum beam waist: ~1um

## Slide 16
Focusing lens
Fixed plane(focal)
Test setup1：
Shift the focal plane by adding an extra phase modulation
Yellow and blue lines represents knife edge test in two perpendicular direction

## Slide 17
Focusing lens
Focal plane
Test setup2：
Tracing the focal plane with translation stage
Error bar shows the uncertainty in looking for the focal plane.

## Slide 18
Thanks